ST. ANDREW’S, ROXBOURNE

EMERGENCY PROCEDURES

IN CASE OF FIRE

Evacuate the Hall by directing people to the emergency exits which are clearly indicated by the illuminated EXIT signs. Call the Fire Brigade by dialling 999 or 112.

Please note: There is no public phone on the premises.

If possible, and safe to do so, fight the fire using the extinguishers which are located by each entrance door. In the case of an electrical fire, disconnect the appliance, or turn off the supply first. The RED CARBON DIOXIDE extinguishers with the BLACK NOZZLE in the kitchen and under the stage, are for oil and fat fires and electrical fires. The RED WATER extinguishers are best for paper/wood fires.

FIRST AID

A First Aid Box is kept in the Main Hall Kitchen and the Youth Centre.

MAINS POWER FAILURE

In the event of a failure in the Public Electricity Supply, the Emergency Lighting System will operate automatically, and will illuminate all strategic parts of the premises.

If there is a failure in a part of the system, please contact the duty caretaker.

GAS LEAK

If a gas leak is suspected, the gas must be turned off at the main stopcock, which is located inside the gas meter housing at the Main Entrance to the site. It is not necessary to unlock the door of the meter house. There is an access hole at the BACK of the housing through which the stopcock can be reached. The handle should be turned so that it lies at right angles to the pipe. Contact Transco on 0800 111  999.

FLOODING

If a burst water main is suspected anywhere on the site, the water can be turned off at the main stopcock, which is located beneath an inspection cover (marked WATER METER) in the ground next to the gas meter housing at the main site entrance. The key for this stopcock is kept on a hook in the switch cupboard in the large vestibule at the back of the church.

JANUARY 2015

St. Andrew’s

Church of England

Roxbourne

06 November 2015

To all Hall Hirers

We are enclosing a copy of our Emergency details for your records.  These are very important and should be noted with care.

We would suggest that, in each group, a person in authority is appointed so that, in the unlikely and unfortunate event of there being an emergency, a plan has been thought out in advance, and can be put into action immediately.  It really is important that this is done, with special attention being given to disabled people.

We will obviously ensure, as we already do, that the necessary and suitable extinguishers are in place, and that the Emergency Lighting is switched on.  Our Caretakers ensure that exits are open when they open the Halls in the morning.  Attached is a diagram showing the positioning of the extinguishers in both halls.

Would you please be kind enough to confirm that you are taking the necessary action within your group by returning the signed copy of this letter.  Should you need any further advice, please contact John & Joyce Nickolay on 020 8248 6405, or myself.

Thank you.

Sue  McLeod (Churchwarden 0208 866 1442)

On behalf of St. Andrew’s P.C.C.

We confirm that we have read and understood the Emergency Procedures for St. Andrew’s, Roxbourne.

Signed: …………………………………………..  Date: ………………………

Name of Organisation:…………………………………………………………….

_____________________________________________________________________

Malvern Avenue, South Harrow, Middx. HA2 9ER.

Tel: 020-8422-3633	e-mail: standrewsroxbourne.org.uk

Registered Charity No. 1131727